## Slide 1: Success at the (FL)Edge
Leveraging Open Source at the Edge as a Bridge to Critical Operations in Industry Richard Beeson, CTO, OSIsoft Bill Hunt, CTO Dianomic
24.09.2019

## Slide 3: Early Control Room – Circa 1960’s
Central Control Room
Hundreds of sensors
Silos of Signals
Analog Readouts
Home Runs Needed for Piping and Wires
Integration at the Human
Simple Control
Picture Source: en.wikipedia.org/wiki/Distributed_control_system
Notes: This is state of the art in the 60’s, in the 70’s they added digital displays.
This was a major advancement over distributed local control with no remote readouts.
That required process operator to get on a bike and/or radio and call for help to make a change.
This was integration at the Human.

## Slide 4: Distributed Control System (DCS)
Introduced Late 70’s
Thousands of sensors
Rolled Out In the 80’s/90’s
Updated Slightly Over Time
DSC Allows for Plant-wide Control
Advanced, Multivariable Control
Typically multiple DCS in a plant (7 in HI Independent)
VAX >> Unix >> Windows
Picture Source: en.wikipedia.org/wiki/Distributed_control_system

## Slide 5: Electrical Infrastructure Supply Chain - Today
Source: California Independent System Operator (CALISO)
Redundant, Distributed Control Center Geography Dispersed/Diverse Control Cross Company Business Control
(Circa 1990’s - Today)

## Slide 7: Data Integration can Address Big Questions
Notes: Cost of adding sensor to control network in critical systems can be many $10s of thousands.
But the value of additional data can be significant.

## Slide 8: IIoT Enables Digital Transformations
Cheap, and tiny sensors
Decreasing compute and storage costs
New abilities to process and analyze data
Ubiquitous connectivity
Sensors on the Entire Supply Chain will Automate and Transform Business

## Slide 9: Secondary IIoT Networks
Industrial DCS and SCADA systems are secure and reliable but also
  Tightly regulated/controlled
  Geographically challenging
  Expensive
Networks of Non-SCADA data are becoming common
Massive Fragmentation and Complexity in Sensors and Machines
Large Brownfield needs to be supported/extended

## Slide 10: The reality of new sensors today
1° Network
2° Network

## Slide 11: Efficiency is Everything
Maximizing Asset Availability/Usage is Critical
Strategies
  Reactive Maintenance (Run-To-Failure)
    Failures are a surprise, and resolving creates emergencies
  Preventive (Scheduled) Maintenance
    Down-time during maintenance/inspection
    Significant cost of maintenance
    Can still have surprise failures
  Predictive (Condition-Based) Maintenance
    Use data to predict when equipment needs maintenance
    Ranges from simply monitoring oil temperature to running ML models
    Reduced downtime and cost

## Slide 12
Industrial Operators
Industrial Equipment
Vendors
Industrial SIs
Critical Operations Plant Wide
Condition-Based maintenance
Predictive maintenance
Situation awareness
Increased safety
OEE, TPM
How
Connect all machines, sensors
Put all data in plant wide context
Eliminate fragmentation and complexity
Use FLEDGE’s common APIs to manage, secure and operate as a system
Smarter more Autonomous Machines
Machines that learn
Machines that maintain themselves
Machines that integrate
New business models/higher margins
Machines that compete
How
Use latest ML/AI tools
Use modern architectures
Avoid proprietary APIs and cloud lock-in
Save development time and money
Use FLEDGE’s common APIs to manage, secure and operate as a system
Lead Industrial 4.0 Transformations
Accelerate deployments
More/tighter Integrations
Own and re-use your value-add code
Develop ML/AI expertise
Increase value delivered/hour
How
Connect all machines, sensors to old and new OT/IT Systems
Put all data in plant wide context
Build services around latest ML/AI tools
Use FLEDGE’s common APIs to manage, secure and operate as a system

## Slide 13: Fledge Technology

## Slide 14
Collect Data - from any/all sensors
Aggregate - combine and organize data
Transform - filter and transform data in-flight Buffer Data - reliability for poor connectivity
Edge Analytics - visualize data on the edge
Deliver Data - to multiple local/cloud destinations

## Slide 15: Flexible and Scalable
FogLAMP is a single
device solution or…
Multiple Sensors
Multiple Destinations
Hierarchy or Mesh
Redundancy / Fail-Over
Transform & Buffer Data at all Layers

## Slide 16
Reliable and Resilient – like a cable modem
Low-Effort Provisioning and Maintenance
Small (<50m memory required)
Fast (15,000 readings/second)

## Slide 17: Available on Variety of Industrial Hardware

## Slide 19: Collect Any Data
Many Existing South Plugins
  Temperature, Humidity, Current, etc.
  Modbus, OPC/UA, MQTT, HTTPS
Pluggable – Create Your Own
  Easy APIs and sample code
    Build your own
    Customize existing plugins
  Python or C++
  Polled or Async
Open Source Community – many plugins in time

## Slide 20: Transform Data In-Flight
Apply Mathematical Formula
Modify Metadata Values
  Tag data with the machine or the floor it came from
  Tag data with the component ID being manufactured
Summarize High-Frequency Data
  RMS/Peak – calculate energy of oscillation
  FFT – discover frequencies of oscillation/wobble
Machine Learning / Image Recognition on the Edge
Pluggable – Create your Own
  Easy APIs and Sample Code
  Python or C++

## Slide 21: Intelligently Reduce Data Flow
Compress
Delta – only send changes
Conditional Forwarding
  Forward last 5 minutes of data upon error condition
Pluggable – Create your own
  Easy APIs and Sample Code
  Python or C++

## Slide 22: High Frequency / Vibration Data
Graph is Visually Meaningful
Can Create Alarm Thresholds
Low Volume (1 sample/sec)
Cold
Hot
Alert – Too Hot
Is this Graph Good? Is it Bad? Dunno
Can’t Create Alarm Thresholds
High Volume (1,000+ samples/sec)
  Wastes expensive bandwidth
  Consumes Disk/CPU

## Slide 23: Enriching & Simplifying Data
RMS shows energy of vibration,
which shows speed & fatigue.
FFT shows energy at different
frequencies. Predict problems.

## Slide 24: Machine Learning
Is this weld
high quality?
Google TensorFlow - Run ML Models at the Edge
Image Recognition / Object Detection / Anomaly Detection
Is this machine
healthy?
Are there people
in this
dangerous area?

## Slide 25: Thermal Imaging

## Slide 26: Event Detection at the Edge
Rules
  Temperature goes over threshold
  Current goes 20% above the average of last 5 minutes
  Pluggable – Create complex rules across multiple assets
Actions
  Create Asset Data
  Run External Python App
  Email / Slack / Send Message
  Pluggable – Create your own

## Slide 27: Fledge in Energy Predictive Maintenance Monitoring - Transformers

## Slide 28: Fledge in Manufacturing Situation Awareness – Aircraft Paint Booths

## Slide 29
Richard Beeson
Chief Technology Officer
OSIsoft LLC
richard@osisoft.com
Bill Hunt
Chief Technology Officer
Dianomic
bill@dianomic.com